## Summary
HVAC package — 3 vendor comparison, Nerul warehouse fit-out
Currency: INR Basis: ex_tax
GATE: RANKABLE — Quarantined scope 2.1% — immaterial.
Vendor | Ranked total | Quarantined | Non-firm | Stated total | Recon diff | Score (your weights) | Score (equal weights)
Aeroflow Systems | 4720000 | 0 | 100000 | 4820000 | 0 | 79.3 | 75.9
Cooltech Engineering | 3983000 | 85000 | 0 | 3990000 | 78000 | 60.2 | 36.7
Nordic Climate Pvt Ltd | 4900000 | 0 | 0 | 5010000 | -110000 | 83.1 | 87.3
Winner holds at both your weights and equal weights.
Weights (editable — Sensitivity sheet recalculates)
price | 45
scope_completeness | 15
delivery | 10
commercial_risk | 15
capability | 10
terms | 5

## Levelled
Levelled comparison — one row per mapped scope item
Scope item | Category | UoM | Map | Confidence | Aeroflow Systems | Cooltech Engineering | Nordic Climate Pvt Ltd | Min | Max | Spread %
AHU units | Equipment | no | one_to_one | high | 1860000 | 1592000 | 1952000
Ducting | Distribution | sqm | one_to_one | high | 1536000 | 1416000 | 1476000
Piping and valves | Distribution | rm | one_to_one | high | 672000 | 880000 | 656000
Installation and commissioning | Services | LS | one_to_one | high | 520000 | — | 610000
Freight | Logistics | LS | one_to_one | high | 132000 | 95000 | 141000
Controls and BMS interface | Controls | LS | one_to_one | high | 100000 | — | —
Site supervision | Services | LS | one_to_one | high | — | 85000 | —
Operator training | Services | LS | one_to_one | high | — | — | 65000
TOTAL (all rows incl. quarantined)

## Provenance
Provenance — every compared line traced to its source text
Vendor | Scope item | Source file / ref | Page | Row | Verbatim original text
Aeroflow Systems | AHU units | AFS/2026/0412 | 2 | 1 | Supply of Air Handling Units, 10TR capacity, make: as specified premium brand
Aeroflow Systems | Ducting | AFS/2026/0412 | 2 | 4 | GI sheet metal ducting with 25mm nitrile insulation, rate per sqm of duct surface
Aeroflow Systems | Piping and valves | AFS/2026/0412 | 3 | 2 | MS chilled water piping with insulation, valves and fittings
Aeroflow Systems | Installation and commissioning | AFS/2026/0412 | 3 | 7 | Erection, installation, testing and balancing — lump sum
Aeroflow Systems | Freight | AFS/2026/0412 | 3 | 9 | Transportation to site, inclusive of unloading
Aeroflow Systems | Controls and BMS interface | AFS/2026/0412 | 4 | 1 | BMS interface — provisional sum, subject to final BMS scope
Cooltech Engineering | AHU units | CTE-Q-8841 | 1 | 1 | Supply of AHU 10TR — make: equivalent approved
Cooltech Engineering | Ducting | CTE-Q-8841 | 1 | 3 | GI ducting with insulation as per spec
Cooltech Engineering | Piping and valves | CTE-Q-8841 | 2 | 1 | Chilled water piping complete with valves
Cooltech Engineering | Freight | CTE-Q-8841 | 2 | 4 | Freight up to site gate. Unloading in client scope.
Cooltech Engineering | Site supervision | CTE-Q-8841 | 2 | 6 | Technical supervision during client-arranged erection
Nordic Climate Pvt Ltd | AHU units | NCPL/26/1190 | 2 | 1 | Air Handling Units 10TR, premium imported make, 3 year warranty
Nordic Climate Pvt Ltd | Ducting | NCPL/26/1190 | 2 | 3 | GI ducting, 25mm insulation, factory fabricated
Nordic Climate Pvt Ltd | Piping and valves | NCPL/26/1190 | 3 | 1 | Chilled water piping with insulation, valves, hangers
Nordic Climate Pvt Ltd | Installation and commissioning | NCPL/26/1190 | 3 | 5 | Complete erection, installation, commissioning, testing & balancing
Nordic Climate Pvt Ltd | Freight | NCPL/26/1190 | 3 | 8 | Transport, unloading and shifting to location
Nordic Climate Pvt Ltd | Operator training | NCPL/26/1190 | 4 | 2 | Two-day operator training for client facilities team

## Ledger
Inclusion / exclusion ledger
Scope element | Aeroflow Systems | Cooltech Engineering | Nordic Climate Pvt Ltd
Freight to site | Included | Included | Included
Installation | Included | EXCLUDED | Included
Commissioning | Included | EXCLUDED | Included
Testing & balancing | Included | EXCLUDED | Included
Electrical supply up to panel | EXCLUDED | EXCLUDED | EXCLUDED
Operator training | not stated — ask | not stated — ask | Included

## Quarantine
Quarantined scope — excluded from ranked totals
Quarantine ratio: 2.1% Quarantined scope 2.1% — immaterial.
Vendor | Scope item | Value | Reason | Question that releases it
Cooltech Engineering | Site supervision | 85000 | Supervision only, not installation — not comparable to A and C's installed scope

## Assumptions
Assumption register — every assumption made to level these quotes
# | Assumption | Impact if wrong | Affects
1 | Ducting quantity of 2400 sqm taken as the client BOQ figure for all three vendors. | Ducting is ~30% of value; a 10% quantity error moves the gap by roughly INR 1.5L. | Ducting
2 | Cooltech's excluded installation valued at Aeroflow's rate for the purpose of the ledger, not added to the ranked total. | If the client's own erection contractor is cheaper, Cooltech's true gap narrows. | Installation and commissioning
3 | GST assumed fully creditable to the buyer and therefore excluded from the comparison basis. | If credit is unavailable, all totals rise proportionately but the ranking is unchanged. | all

## Sensitivity
Sensitivity — change a weight, the ranking moves
Vendor | price | scope_completeness | delivery | commercial_risk | capability | terms | Weighted score
Nordic Climate Pvt Ltd | 81.3 | 75 | 100 | 80 |  | 100
Aeroflow Systems | 84.4 | 75 | 83.3 | 70 |  | 66.7
Cooltech Engineering | 100 | 0 | 0 | 50 |  | 33.3
Weights (edit these)
price | scope_completeness | delivery | commercial_risk | capability | terms
45 | 15 | 10 | 15 | 10 | 5